Infrared Spectrometry and Radiometry (and the Cassini Composite Infrared spectrometer)
Infrared Spectroscopy
(and the Cassini Composite Infrared spectrometer)
Adam Ginsburg
September 25, 2007

---
Outline
Infrared Spectroscopy:
What is it, what science?
Difficulties with observing in the IR
Detectors
Spectrometers
Conceptual Question
Cassini instrument comparison

---
Infrared: What wavelengths?
Infrared: What wavelengths?
[Speaker Notes: Starts at ~1um, goes up to about 1mm Split into near, mid, and far-ir regimes VIMS near, CIRS far]

---
What can you see?
What can you see?
Thermal Infrared
[Speaker Notes: All infrared wavelengths see thermal infrared 300K blackbody peaks at about 10um Planets reflect starlight in the visual, emit in thermal infrared Mid- and Far-IR ideal for seeing cool planets' thermal emission]

---
Near, Mid, Far
Blackbody emission throughout spectrum
Near-IR dominated by reflection and absorption
[Speaker Notes: Near-IR will show mostly absorption of solar radiation Mid- and Far- will show cool blackbody emission What might this look like for other planets?]

---
Seeing Deeper
Seeing deeper at longer wavelengths
[Speaker Notes: Visual wavelengths from surfaces Near-IR also from surfaces, mostly (some windows) Mid, far see through clouds Can see chemical species, map out chemical distributions -by altitude -on a surface This gives only gas planets – what might far-infrared and visual/near IR see on solid planets?]

---
Infrared Spectra
Infrared Spectra
Emission and absorption lines and bands
[Speaker Notes: A lot of molecular bands emit in the infrared Low wavenumber = long wavelength, water is far in the infrared (39.5 microns) Many hydrocarbons observed in Titan's atmosphere in mid-IR (next slide - how)]

---
Infrared Mechanisms
Annoying animations give an idea of the types of molecular transitions that can occur
[Speaker Notes: stretching (symm, asymm) “scissoring” “rocking” “wagging” “twisting” + rotational Different bonds occur in diff parts of spectrum What difference b/w molecular and atomic? What sort of molecular emission in UV, IR?]

---
Science in the Infrared
Mid-High resolution spectra show emission and absorption features, i.e. atmospheric chemical content
Low-resolution spectral energy distributions give temperature measurements
Near-IR observations can penetrate reflective atmospheres for mapping

---
Dealing with Infrared
Dealing with Infrared
Longer wavelengths
Atmospheric emission and absorption
Instrument emission

---
Dealing with Infrared
Longer wavelengths
  - Lower resolution for a given aperture
Atmospheric emission and absorption
Instrument emission

---
Dealing with Infrared
Longer wavelengths
  - Lower resolution for a given aperture
Atmospheric emission and absorption
  - Difficult or impossible from Earth
Instrument emission
[Speaker Notes: Where else might an absorption/transmittance spectrum like this be useful? VIMS observation of Titan's surface has to see though atmosphere]

---
Dealing with Infrared
Longer wavelengths
  - Lower resolution for a given aperture
Atmospheric emission
  - Difficult or impossible from Earth
Instrument emission
  - Must cool the whole box

---
Dealing with Infrared
Instrument emission
  - Must cool the whole box
[Speaker Notes: Cooler objects move peak to longer wavelengths for a given object, if it's warmer, it emits more at all wavelengths]

---
IR Detectors
Will discuss 2 types:
  - Solid State
  - Thermopile
There are others, don't worry about them:
  - Bolometer
  - Heterodyne

---
Infrared Detectors
Solid State Infrared Detectors
[Speaker Notes: Near-IR uses solid state: CCDs or similar HgCdTe on CIRS Indium Antimonide InSb on VIMS]

---
Bolometers
Bolometers
Absorb photons, thermometers measure temperature
Broadband sensitivity
[Speaker Notes: broadband sensitivity ~most sensitive at far-IR relatively new technology, first and second generation ground instruments still delivering brand new results]

---
Thermopiles
Thermopiles
Collection of thermocouples sensitive to temperature change
Consistent response with wavelength
[Speaker Notes: good response out to long wl different materials with diff thermal conductivity => current absorbed photons heat up material well-tested: used on Voyager IRIS]

---
Heterodyne Detectors
Heterodyne Detectors

---
Types of Spectrographs
Types of Spectrographs
Grating spectrographs (Ben covered these)
Fourier Transform spectrographs
  - Michelson Interferometer
    - wavelength changes over time
  - Fabry-Perot Interferometer / Etalon
    - Multiple internal reflections -> very sharp fringes
Heterodyne Detectors
  - Highest resolution
  - Difficult to make local oscillators in IR

---
Types of Spectrographs
Grating spectrographs (Ben covered these)
Fourier Transform spectrographs
  - Michelson Interferometer
Fabry-Perot Interferometer / Etalon
Heterodyne Detectors
[Speaker Notes: Grating spectrographs disperse reflected light -at far-ir, must be large b/c separation b/w wls is large -difficult to get broad range of wls FT like Michelson change wls with time -move the mirror -reference interferometer to find fringes, measure wl FP very high res, useful for atmospheric sounding but not good exploratory instrument Heterodyne mostly reserve for ground-based, i.e. radio]

---
Diffraction Grating

---
Michelson Interferometer
Michelson Interferometer
Broad spectral range with range of resolutions
[Speaker Notes: No intrinsic limit to spectral range Measure constructive interference can choose variety of resolutions use reference interferometer to tune, calibrate easier to build with broad wl range than FP?]

---
Fabry-Perot Etalon
Fabry-Perot Etalon
Very high resolving power ~30000
Most useful for
narrow-band
spectroscopy

---
Conceptual Challenge
What instrument would you use to determine atmospheric compositions of Earth? Venus? Mercury?
Mapping?
Things to consider:
  - Atmosphere type
  - Temperature of planet
  - What else?

---
Conceptual Challenge
2 thermopile detectors for long wavelengths
2 solid-state HgCdTe detectors for short wavelengths
Budget cuts mean you have to lose one

---
Cassini CIRS
Cassini CIRS
[Speaker Notes: CIRS flew on Cassini! Previous diagram was of CIRS, and FP 2, the second long-wavelength focal plane, was cut]

---
The Instrument
The Instruments
CIRS: Beamsplitter
        Two interferometers
        1 point-like FP
        2 linear array FPs
VIMS: Two-telescope (f/3.2, 23cm f/3.5)
        Two Grating Spectrometers
        Visual CCD
        256 elements linear array IR

---
CIRS Specs
CIRS
and VIMS Specs
[Speaker Notes: Polarization modulation? low res at short wl is .42um, at long is 600um hires at short wl is .014um, long 48um FOV long ~13 arcminutes FOV short ~1 arcmin]

---
 Spectral Response Comparison
CIRS:
FP1: Thermopile
FP3: Photovoltaic HgCdTe
FP4: Photoconductive HgCdTe
VIMS:
InSb array
[Speaker Notes: dotted lines are noise level FP2 would have been nice to fill in sensitivity gap FP1 important: fills in 10-180 cm^-1 range not covered by IRIS on Voyager (56um-1mm) -deeper atmos measurements -thermal measurements of icy objects]

---
Field of View
Fields of View
[Speaker Notes: single pixel field in fir fp3 and 4 can only use 5 of 10 elements at once resolution is better than one scale height for titan and saturn]

---
Science
CIRS pointing, VIMS mapping
CIRS: Atmospheric Composition
        Temperature Distribution
VIMS: Surface composition
        Surface features
[Speaker Notes: nadir hi-res: gas composition, isotopic ratios nadir lo-res: temperature map, aerosols limb hi-res: distinguish vapor, condensed. Vertical profile of trace constituents limb lo-res: vertical temp profile, aerosols, abundant species nadir stare: composition nadir lo-res stare: whole disk temperature, thermal inertia lo-res icy satellite: thermal probing with FIR, hi-res surface temp mapping, eclipse heating/cooling to measure thermal inertia ring scans determine composition, radial profile, temperature, opacity]

---
Science Results: Enceladus
Science Results: Enceladus
Warm emissions around ice cracks
http://cdsads.u-strasbg.fr/abs/2005AGUFM.P32A..04S
[Speaker Notes: Average temperature 73k -> ~40um BB peak Very cold, but FP3 & 4 can still be used for temperature mapping Poles warmer (85K) than sunlit equatorial (75-80K) some small areas as hot as 125K http://cdsads.u-strasbg.fr/abs/2005AGUFM.P32A..04S]

---
Science Results: Titan
Science Results: Titan
[Speaker Notes: rotational and vibrational-rotational lines monodeuterated methane detected image shows pointing / FOV of CIRS]

---
Why CIRS?
[Speaker Notes: nearly all significant species in mid-IR]

---
Compare to VIMS
CIRS vs VIMS mapping
[Speaker Notes: VIMS images of Enceladus and Titan higher resolution good for false-color less information about chemical species]

---
Science Results: Jupiter
Science Results: Jupiter
[Speaker Notes: temperature map of jupiter]

---
References
References
http://cirs.gsfc.nasa.gov/
http://saturn.jpl.nasa.gov/spacecraft/inst-cassini-cirs-details.cfm
http://www.iop.org/EJ/abstract/0143-0807/27/5/010 - Fabry Perot interferometers described
http://cdsads.u-strasbg.fr/cgi-bin/nph-iarticle_query?1995ESASP.374..385M&amp;data_type=PDF_HIGH&amp;whole_paper=YES&amp;type=PRINTER&amp;filetype=.pdf
http://cdsads.u-strasbg.fr/abs/1995ESASP.374..385M
http://www.boulder.swri.edu/recent/enceladus_geological_activity/
http://irtfweb.ifa.hawaii.edu/research/science/03.Orton.Cassini_CIRS.html (Cassini Jupiter Temperature Mapping)
http://www.obspm.fr/actual/nouvelle/sep04/jupiter.en.shtml (Jupiter CO/HCN vs latitude)
http://cassini-huygens.jpl.nasa.gov/cgibin/gs2.cgi?path=../multimedia/images/jupiter-flyby/images/cirs010123b.jpg&type=image (field of view for Jupiter flyby)
http://cassini-huygens.jpl.nasa.gov/cgibin/gs2.cgi?path=../multimedia/images/jupiter-flyby/images/cirs010123a.jpg&type=image (spectrum from jupiter flyby)
http://www.astro.umd.edu/~nixon/research.html (Titan spectrum)
http://www.astro.umd.edu/~nixon/mission.html (Titan pointings, Cassini must be pointed as a whole)
http://www.californiasciencecenter.org/Exhibits/AirAndSpace/MissionToThePlanets/Cassini/CassiniUpdates/Archive/Cscience.php (saturn temperature mapping)
http://adsabs.harvard.edu/abs/2004SSRv..115..169F
http://en.wikipedia.org/wiki/Michelson_interferometer
http://cdsads.u-strasbg.fr/abs/2005AGUFM.P32A..04S